## FUEL SW
Fuel Switching Worksheet for State of Alaska DOE WAP
Date:
Job #
Name: | sample
Location:
| System to Replace | Space Heater
| System Replacement | Space Heater
| Existing Fuel | Electricity
| Replacement Fuel | Fuel Oil
| Annual Savings* | 4942
| Measure Lifespan | 18
| Total Return for Investment | 67969.8616
| Measure Installed Cost | 4000
| Payback in years | 0.80939
| SIR | 16.9925
*Annual savings extrapolated from Akwarm base case
comparison dollar savings on Cost by Component Tab
Lifespan
| Appliance upgrade | years
| Fossil Fuel Furnaces & Boilers | 20
| All other heating systems except heat pumps | 18
| Heat pump replacement | 15
| Water Heater Replacement | 13

## Data
System Types |  |  | Fuel Types
Tank Water Heater |  |  | Electricity
On Demand Water Heater |  |  | Fuel Oil
Boiler |  |  | Natural Gas
Furnace |  |  | Wood
Space Heater |  |  | Solar
System Replacement
| Tank Water Heater | 13
| On Demand Water Heater | 13
| Boiler | 20
| Furnace | 20
| Space Heater | 20
| Heat Pump | 15

## Notes
Formula for Fuel Inflation
A = P(1 + r/n)nt

## Fuel Change Scenerios
Fuel Change Scenerios Based on SIR Fuel Cost Efficiency
Existing Appliance | Existing Fuel | Proposed Appliance | Proposed Fuel
Furnace | Fuel Oil | Heat Pump | Electric
Furnace | Fuel Oil | Furnace | Natural Gas
Boiler | Fuel Oil | Boiler | Natural Gas
Space Heater | Fuel Oil | Space Heater | Natural Gas
Space Heater | Fuel Oil | Mini Split Heat Pump | Electric
Space Heater | Electric | Space Heater | Fuel Oil
Wood Stove | Wood | Space Heater | Fuel Oil
Water Heater | Electric | Water Heater | Fuel Oil
Water Heater | Fuel Oil | Water Heater | Natural Gas